## Sheet1
Dimmable Direct Drive T8 Tubes(FDIM) | [8 empty] | NOTE: The humming is not an issue of non-compatible dimmers, but rather an issue that is inherently present when using TRIAC/Phase Control dimming technology with LED Drivers. When phase dimmed, there is always a small amount of humming present in the circuitry, which is typically loudest near the 50% dimming mark. There are ways to reduce the humming from TRIAC-dimmable LED drivers, but it is very difficult to accomplish with drivers small enough to fit inside of the end caps of LED tubes. We are actively in the design phases of working to improve the humming issue. In some applications where ambient noise is present, we’ve found that the humming is virtually unnoticeable. In other applications however, where the environment is typically quiet, we have found that the end user is displeased with the performance. Also, note that different fixture types (enclosed vs open), room size, and lamp quantity all play a factor in how noticeable the humming is.
Dimmer Cat No. | Manufacturer | Flickering @ start up | Flickering During Adjustment | Smooth Dim | Humming
|  | Yes/No | Yes/No | Yes/No | Yes/No | Noice Level
[6 empty] | Max setting | Mid setting | Min setting
S-600P | Lutron | No | No | Yes | Yes | NN | N | NN
Decora 6631 | Leviton | No | No | Yes | Yes | NN | N | NN
Decora 6672 | Leviton | No | No | Yes | Yes | NN | N | NN
Decora 6674 | Leviton | No | No | Yes | Yes | NN | N | NN
CT-603PGH-WH | Lutron | No | No | Yes | Yes | NN | N | NN
NTF-103P-WH | Lutron | No | No | Yes | Yes | NN | N | NN
MACL-153MH-WH | Lutron | No | No | Yes | Yes | NN | N | NN
CTCL-153PDH-WH | Lutron | No | No | Yes | Yes | NN | N | NN
LGCL-153P-WH | Lutron | No | No | Yes | Yes | NN | N | NN
MRF2-6CL-HW | Lutron | No | No | Yes | Yes | NN | N | NN
SCL-153P-HW | Lutron | No | No | Yes | Yes | NN | N | NN
DVF-103P-WH | Lutron | No | No | Yes | Yes | NN | N | NN
SF-103P | Lutron | No | No | Yes | Yes | NN | N | NN
NOICE LEVEL
N = NOTICEABLE
NN = NOT NOTICEABLE